# Program description TRICAL

This is a combination of the programs TRIAX and CALEX for evaluating the calibration of homogeneous-triaxial seismometers with the method of Peter Davis. See section 5.6.7 of the NMSOP for a general explanation, and the program description calex.doc for details.

TRICAL uses the same parameter file as CALEX except for an obvious modification: trical.par specifies a total of four file names, one for the stimulus (the input to the calibration coil)  and three for the X, Y, Z output signals. The screen output and the trical.out file contain the parameters of the transfer function both for the U, V, W sensors and for the X, Y, Z outputs. TRICAL generates three plot-parameter files, one each for  the U, V, and W calibration. A small batch file plot3.bat allows convenient plotting.

The parameter file for the test case:

calibration of a triaxial 20 s seismometer (synthetic signals)

data\rtein.f   input to seismo (file name)

data\rtaus.x   x output from seismo (file name)

data\rtaus.y   y output from seismo (file name)

data\rtaus.z   z output from seismo (file name)

0.5  alias

3    m

0    m0

0    m1

1    m2

60   maxit

1e-6 qac

1e-4 finac

201  ns1

0    ns2

amp  1.         0.5

del  0.         0.

sub  0.         0.

til  0.         0.

bp2

per  20.        2.

dmp  0.7        0.1

end

Download the software, test data, and chapter 5 of the NMSOP from

http://www.software-for-seismometry.de/   or

http://www.geophys.uni-stuttgart.de/~erhard/downloads/