Type CMG-3ESP Compact Manufacturer Guralp Systems Limited Address 3 Midas House, Calleva Park, Aldermaston, Reading RG7 8EA, UK Phone ++44 118 9819056 E-mail sales@guralp.com Homepage www.guralp.com Category Force-balance BB, three-component Flat response velocity 33 mHz (30 s) to 50 Hz (others available) Resolution: NLNM 40 mHz to 16 Hz (manufacturer) within 10 dB of NLNM within 20 dB of NLNM Operating range 10 mm/s Generator constant 2000 Vs /m (others available) Output differential, 10 V per line Weight 8 kg Size 17 cm dia., 19 cm high Power 10 to 36 volts, 0.6 watts (low-power version available) Manual control - Remote control mass lock, centering, calibration Remote diagnostic mass position Accessories - Typical installation all purpose. Data sheet http://www.guralp.com/products/3ESPC/ Remarks Guralp offers this seismometer with a wide variety of responses.