Type CTS-1 Manufacturer Wuhan Liquan Seismic Observation Technology Co. Ltd Address No. 40 Hongshan Celu, Wuhan, Hubei, China Phone and Fax ++86-27-87864644 E-mail actseis@gmail.com Homepage www.whlqtech.com Category Force-Balance VBB, three component Flat response Velocity 8.3 mHz (120 s) to 50 Hz Resolution: NLNM 10 mHz (100 s) to 10 Hz within 10 dB of NLNM 2 mHz (500 s) to 20 Hz within 20 dB of NLNM Operating range ±10 mm/s (velocity) Generator constant 2000 Vs/m (velocity) Output differential, ±10 V per line Weight 12 kg Size 294 mm dia., 27 cm high Power 9 – 18 V, 2 W Manual control Remote control Mass lock, centering Remote diagnostic Mass position (acceleration output) Accessories RCU box Typical installation Observatory, vault Data Sheet Remarks