Type JCZ-1 Manufacturer Wuhan Liquan Seismic Observation Technology Co. Ltd Address No. 40 Hongshan Celu, Wuhan, Hubei, China Phone and Fax ++86-27-87864644 E-mail actseis@gmail.com Homepage www.whlqtech.com Category Force-Balance VBB, three component Flat response Velocity 2.8 mHz (360 s) to 10 Hz Resolution: NLNM 5 mHz (200 s) to 10 Hz within 10 dB of NLNM 1 mHz (1000 s) to 20 Hz within 20 dB of NLNM Operating range ±10 mm/s (velocity), ±1 mm/s2 (VLP acceleration) Generator constant 2000 Vs/m (velocity), 20000 Vs2/m (VLP acceleration) Output differential, ±10 V per line Weight 30 kg Size 51 * 57 cm, 49 cm high Power 9 – 18 V, 30 W Manual control Remote control Mass lock, centering Remote diagnostic Mass position (acceleration output) Accessories TCU and RCU boxes Typical installation Observatory Data Sheet No English data sheet available at the time of writing Remarks Inner temperature stabilized with a thermostat