Type; # KS-54000. Manufacturer; # Geotech Instruments LLC. Address; 10755 Sanden Drive, Dallas, Texas 75238-1336, USA. Phone; (001) 214 221 0000. E-mail; info@geoinstr.com. Homepage; www.geoinstr.com/. Category; # Force-balance, three-component, VBB borehole seismometer. Flat response; velocity 0.003 Hz (330 s) to 5 Hz. Resolution: NLNM; 10 mHz to 5 Hz*. within 10 dB of NLNM; 4 mHz to 9 Hz*. within 20 dB of NLNM; 0.3 mHz to 12 Hz*. Operating range; ±1 mm/s. Generator constant; 20000 Vs/m. Output; differential, ±10 V per line. Weight; 66 kg. Size; 14 cm dia., 249 cm high. Power; 24 V, 2.4 W. Manual control; -. Remote control; mass lock, module leveling / centering, calibration. Remote diagnostic; mass position. Accessories; ancillary equipment for borehole deployment. Typical installation; borehole up to 300 m deep. Data sheet; http://www.geoinstr.com/ds-ks54000.pdf. Remarks; The standard borehole seismometer of the global network. Accepts up to 10 degrees borehole tilt.. * based on Ringler and Hutt 2010.