Program BANDNOIS

This program analyses a seismic trace for rms signal amplitude in bands of constant relative bandwidth (such as half-octave bands). It reads the SEIFE and ASL formats. The result is compared to the USGS Low Noise Model.

The sensor and recording system are described by four parameters: microvolts per count, corner period, damping, and generator constant. (The program assumes that the seismograph has a simple high-pass response to ground velocity, like a geophone or a typical broadband seismometer.) The number of bands per decade is the fifth parameter. Six bands per decade is normally a reasonable choice, nearly the same as two bands per octave. The name of the data file and the values of the parameters may be entered interactively or as a runstring. The screen output gives the rms signal (resp. noise) amplitudes in nm/s^2 and in decibels re 1 m/s^2. To obtain power spectral density, you have to square the amplitude and divide it by the bandwidth in Hz. Output is written to the screen and into a file bandnois.out .

You may test this program with single or superposed sinewaves; the output should show their exact rms amplitude in the appropriate frequency band.

See also sleeman.doc

The output is presently in German – I will change this.